## Sheet1
| Qty | Purpose | Description | Part | Unit Price | Extended Price | Vendor
SERVERS
| 3 | Server | SuperMicro SuperServer E300-8D | E300-8D | 636 | 1908 | PC Nation
| 3 | Server OOB BIOS Management & Syslog | Supermicro OOB BIOS Management License per server | SFT-OOB-LIC | 17 | 51 | CDW
| 6 | 64GB memory per server | Samsung 32GB Memory Module | M393A4K40BB1-CRC | 325 | 1950 | ALLHDD
| 3 | boot datastore | Supermicro SATADOM 64 GB Internal Solid State Drive | SSD-DM064-SMCMVN1 | 76 | 228 | PC Nation
| 3 | vSAN AF Cache | Samsung 250GB 960 EVO NVMe M.2 Internal SSD | MZ-V6E250BW | 119 | 357 | PC Nation
| 3 | vSAN AF Capacity | Samsung 1TB 860 EVO SATA III M.SATA Internal SSD | MZ-M6E1T0BW | 329 | 987 | PC Nation
NETWORK
| 1 | 10G SFP+ switch | MikroTik 9-Port Desktop Switch, 1 Gig, 8 SFP+ 10Gbps Ports | CRS309-1G-8S+IN | 240 | 240 | Amazon
| 7 | SFP+ Cables | tp-link TXC432-CU1M Compatible 10G SFP+ Passive | 36994 | 11 | 77 | fs.com
NAS
| 1 | NAS with 10GB SFP+ connection | QNAP TS-431X2 4-Bay NAS Enclosure | QNTS431X22G | 430 | 430 | B&H Photo
| 3 | 8TB HDD for NAS in RAID 5 | HGST Ultrastar He8 8TB 7.2K RPM SATA-6Gb/s 3.5" | HUH728080ALE600_0F25739_FS | 225 | 675 | Server Part Deals
RACK/POWER
| 1 | 1/2 Rack | NavePoint 22U 2-Post Open Frame Rack with Casters | 404145 | 128 | 128 | navepoint.com
| 3 | Rack Mount Kit | Supermicro - Rack bracket kit - for SCE300; SuperServer E300-8D | MCP-290-30002-0B | 41 | 123 | GoVets Direct
| 1 | UPS | CyberPower 1350VA UPS | C1350LA | 99 | 99 | Costco
| 1 | 12 outlet rack mount power strip | CyberPower 15A 12-Outlet 1U RM Rackbar Surge Supressor | RKBS15S2F10R | 42 | 42 | Amazon
TOTAL | [5 empty] | 7295